## Slide 1: Optimization of Linear Problems: Linear Programming (LP)

## Slide 2: Motivation
Many optimization problems are linear
  Linear objective function
  All constraints are linear
Non-linear problems can be linearized:
  Piecewise linear cost curves
  DC power flow
Efficient and robust method to solve such problems

## Slide 3: Piecewise linearization of a cost curve
PA

## Slide 4: Mathematical formulation
n
minimize Σ cj xj
j =1
n
subject to: Σ aij xj ≤ bi, i = 1, 2, . . ., m
j =1
n
Σ cij xj = di, i = 1, 2, . . ., p
j =1
cj, aij, bi, cij, di are constants
Decision variables: xj j=1, 2, .. n

## Slide 5: Example 1
x
3
0
1
2
y
0
1
2
4
3
Feasible Region
x + 2 y ≥ 2
y ≤ 4
x ≤ 3
x ≥ 0; y ≥ 0
Subject to:
Maximize x + y

## Slide 6: Example 1
x
3
0
1
2
y
0
1
2
4
3
x + 2 y ≥ 2
y ≤ 4
x ≤ 3
x ≥ 0; y ≥ 0
Subject to:
Maximize x + y
x + y = 0

## Slide 7: Example 1
x
3
0
1
2
y
0
1
2
4
3
x + 2 y ≥ 2
y ≤ 4
x ≤ 3
x ≥ 0; y ≥ 0
Subject to:
Maximize x + y
x + y = 1
Feasible Solution

## Slide 8: Example 1
x
3
0
1
2
y
0
1
2
4
3
x + 2 y ≥ 2
y ≤ 4
x ≤ 3
x ≥ 0; y ≥ 0
Subject to:
Maximize x + y
x + y = 2
Feasible Solution

## Slide 9: Example 1
x
3
0
1
2
y
0
1
2
4
3
x + 2 y ≥ 2
y ≤ 4
x ≤ 3
x ≥ 0; y ≥ 0
Subject to:
Maximize x + y
x + y = 3

## Slide 10: Example 1
x
3
0
1
2
y
0
1
2
4
3
x + 2 y ≥ 2
y ≤ 4
x ≤ 3
x ≥ 0; y ≥ 0
Subject to:
Maximize x + y
x + y = 7
Optimal Solution

## Slide 11: Solving a LP problem (1)
Constraints define a polyhedron in n dimensions
If a solution exists, it will be at an extreme point (vertex) of this polyhedron
Starting from any feasible solution, we can find the optimal solution by following the edges of the polyhedron
Simplex algorithm determines which edge should be followed next

## Slide 12: Which direction?
x
3
0
1
2
y
0
1
2
4
3
x + 2 y ≥ 2
y ≤ 4
x ≤ 3
x ≥ 0; y ≥ 0
Subject to:
Maximize x + y
x + y = 7
Optimal Solution

## Slide 13: Solving a LP problem (2)
If a solution exists, the Simplex algorithm will find it
But it could take a long time for a problem with many variables!
  Interior point algorithms
  Equivalent to optimization with barrier functions

## Slide 14: Interior point methods
Constraints
(edges)
Extreme points
(vertices)
Simplex: search from vertex to vertex along the edges
Interior-point methods: go through the inside of the feasible space

## Slide 15: Sequential Linear Programming (SLP)
Used if more accuracy is required
Algorithm:
  Linearize
  Find a solution using LP
  Linearize again around the solution
  Repeat until convergence

## Slide 16: Summary
Main advantages of LP over NLP:
  Robustness
    If there is a solution, it will be found
    Unlike NLP, there is only one solution
  Speed
    Very efficient implementation of LP solution algorithms are available in commercial solvers
Many non-linear optimization problems are linearized so they can be solved using LP