## Slide 1: Chapter 1: Introduction
Daniel Kirschen

## Slide 2
Money

## Slide 3: What about money?
Minimizing costs
  Operating costs
    Fuel, personnel, maintenance
  Investment costs
    Generators, lines, transformers, switching devices, …
Maximizing profits
  Competitive electricity markets
Maximizing utility or benefits
  Consumer’s perspective

## Slide 4
Reliability

## Slide 5: What about reliability?
Operational reliability
  Withstand faults, failures, forecasting errors and other regular operational problems
  Operate with a security margin
Resilience
  Withstand natural disasters
  Build a more robust system
Reliability

## Slide 6: Cost of reliability
Providing a security margin costs money
  Run additional generating units to have some operating reserve
  Limit production of some generating units to avoid problems in case of a sudden outage
  Build additional generators and transmission lines to improve resilience

## Slide 7: Value of reliability
Loss of revenue
Loss of comfort
Measured using surveys
  Estimate of cost of latest outages or
  Willingness to pay extra to avoid outages
Value of Lost Load (VoLL)
  Average value of a MWh not delivered
  Estimates range from $2,400 to $20,000 per MWh
    ~ 100 times larger than the cost of energy

## Slide 8: Balancing the greed and the fear

## Slide 9: How do we model this balance?
Mathematical optimization problem
  Cost minimization or profit maximization
  Reliability introduced through constraints
    Explicit costing of reliability is still controversial

## Slide 10
Environmental impact

## Slide 12: Three-way balancing
More complex optimization problems
Some environmental effects can be monetized
  Operating cost of renewable generation is essentially zero
  Carbon tax or carbon trading to reflect the effect of CO2 emissions
Others cannot be monetized
  Effect of hydro generation on salmon
  Modeled using additional operating constraints

## Slide 13: Government energy policy
Not “pure” economics
  Markets and companies take a short term view
  Monopolies  need for regulation
Long term or strategic considerations
  Reduce dependence on imports
Introduction of competitive electricity markets
Choice of primary energy sources
  Promotion of wind and photovoltaic in Germany
  Nuclear power in France
  Energy conservation in the Pacific Northwest

## Slide 14
Organization of the electricity supply industry

## Slide 15: Traditional electric utility model
Monopoly
  Only supplier of electricity in a given region (“service territory”)
  Consumer does not have a choice of supplier
Vertically integrated
  A single organization performs all the technical and business functions
Generation
Transmission
Distribution
Retail
Consumer

## Slide 16: Why vertical integration?
Used to be considered more efficient
Issues:
  Lack of transparency
  Poor internal communication in very large organizations
Generation
Transmission
Distribution
Retail
Consumer

## Slide 17: Why vertical integration?
Possible variants:
  Distribution + retail
    Many municipal utilities
    Rural electricity cooperatives
  Generation + transmission
    Bonneville Power Administration
Generation
Transmission
Distribution
Retail
Consumer

## Slide 18: Why monopolies?
Building a power system is expensive
Building competing transmission and distribution networks does not make sense
  “Natural Monopoly”
Until recently having several companies “share” a power system was too complicated
Monopoly can be:
  Private (investor-owned utility)
  Public (municipal, utility district, national)
Size of service territories varies

## Slide 19: Example 1: Puget Sound Energy
Investor-owned utility
Private monopoly

## Slide 20: Example 2: Seattle City Light
Owned by the City of Seattle
Public monopoly

## Slide 21: Example 3: BC Hydro
Owned by the Province of British Columbia
Public monopoly

## Slide 22: Types of utilities in the United States
Type |  | Number
Investor Owned Companies |  | 265
Municipal Systems |  | 1,818
Public Power Districts |  | 75
State |  | 68
County Systems |  | 5
Rural Electric Co-Ops |  | 922
U.S. Government |  | 37

## Slide 23: Regulation
A private monopoly could abuse its position
  It must be regulated by the government
Government-owned utilities operate for the public good
  No need for outside regulation
  Elect new representatives if we are not satisfied

## Slide 24: The “Regulatory Compact”
Agreement between an Investor Owned Utility (IOU) and a government
IOU receives the right to be the monopoly supplier over a certain territory
IOU accepts that its rates (i.e. what it can charge consumers) will be determined by a regulator
  Example: Washington Utilities and Transportation Commission

## Slide 25: Rate of return regulation
Regulator sets the rates so that the IOU can:
  Recover its operating cost (fuel, personnel, etc…)
  Recover its investment costs (plants, lines, etc…)
  Pay a fair rate of return to its investors
A monopoly utility is a low risk investment
  No competition
  A bankrupt utility is in nobody’s interest
The rate of return can therefore be low compared to other investments

## Slide 26: Problems with Private Monopolies
Monopolies are inefficient
  No competition
  No need to be efficient to survive
  No incentive to be efficient:
    Utility earns more if it invests more
    No penalty for building “white elephants”
    High costs passed on to consumers as high prices of electricity
    A bankrupt utility is in nobody’s interest
Rates are “higher than they should be”

## Slide 27: Could the regulators do better?
Regulation is difficult
  Little basis for comparison
    Each regulator oversees a small number of utilities
    Each utility has a territory with different characteristics
  Difficult to evaluate the utilities’ decisions
    Regulator does not have as much staff as the utility
    “Information imbalance”

## Slide 28: Problems with Public Monopolies
A good government will run its utilities in an efficient and far-sighted manner
This is not always the case
Conflicts can arise between the objectives of the government and the objectives of the utility
Government monopolies are inefficient too!

## Slide 29: Things bad governments do…
Keep rates low to please the voters
  Utility does not have enough money for investments
Keep rates high and use the surplus money for other programs
  Inefficient taxation
  Discourage consumption of electricity
Force the utility to make unnecessary investments to create jobs

## Slide 30: The “new” electricity supply model
Privatization of public utilities
  Not in the US
  Primarily in Europe and South America
“Unbundling”
  Separate the different functions of the utility
Introduce competition
  Treat electrical energy (MWh) as a commodity
  Create markets for trading this commodity
  Energy transmission and distribution remain services provided by monopoly companies

## Slide 31: Expected benefits of privatization
Utility can focus on its mission
If markets function properly:
  Utility gets the revenues it needs
  Price of electricity reflects its true cost
  Optimal allocation of economic resources
Access to private sector capital
  Important in developing countries when government is short of money for investments
Revenue from the sale of privatized assets
  Short term only

## Slide 32: Expected benefits of unbundling
Separation between the parts where competition is possible and those where a monopoly is needed:
  Competition between generators
  Monopoly for transmission and distribution
More transparency in the the system
Essential to create a fair market
  An independent system operator will not favor one generator over another

## Slide 33: Expected benefits of competition
Introduce competition
Generators become more efficient
Production cost decreases
Competitive market
Price to consumers decreases
Economy benefits

## Slide 34: North American Electricity Markets

## Slide 35: Market Structures
Vertically integrated utility
Purchasing agency
Wholesale competition
Retail competition

## Slide 36
Vertically Integrated Utility
Generation
Transmission
Distribution
Consumer
Consumer
Figure 1.1: Traditional model of electricity supply
Electricity sale
Electricity flow within a company

## Slide 37
Consumer
Consumer
Figure 1.2: Variant on the traditional model of electricity supply
Electricity sale
Electricity flow within a company
Consumer
Consumer
Disco
Disco
Generation
Transmission
Vertically Integrated Generation and Transmission

## Slide 38
Vertically Integrated Utility
Generation
Transmission
Consumer
Consumer
Distribution
Figure 1.3: Incumbent vertically integrated utility with IPPs
Electricity sale
Electricity flow within a company
IPP
IPP

## Slide 39
Consumers
Consumers
Figure 1.4: Wholesale electricity market structure
Disco
Genco
Genco
Genco
Wholesale Market
Disco
Large
Consumers
ISO,
TSO,
MO
Consumers
Disco

## Slide 40
Consumer
Consumer
Figure 1.5: Market with retail competition
Retailer
Genco
Genco
Genco
Wholesale Market
Large
Consumers
Retailer
Retail Market
Consumer
Retailer
Consumer
ISO,
TSO,
MO
Discos

## Slide 41: (who are the characters in the play)
Dramatis Personae

## Slide 42: The old model
Image: Salvatore Vuono / FreeDigitalPhotos.net
The Regulator
The Utility
The Customer
(silent part)

## Slide 43: Customer (old model)
Data from National Grid (UK)

## Slide 44: Vertically-Integrated Monopoly Utility
Owns and operates all the assets:
  Generating plants
  Transmission network
  Distribution network
  Control centers
Monopoly over a given area

## Slide 45: Actors after full unbundling
Generating companies (GENCO)
Distribution companies (DISCO)
Electricity retailers
Market Operators (MO)
Independent System Operator (ISO)
Transmission Companies (TRANSCO)
Consumers
Regulator

## Slide 46: Generating companies
Own and operate power generating plants
Compete against each other to sell energy
Competitive advantages:
  More efficient plants
  Cheaper fuel
  Higher plant availability

## Slide 47: Distribution Companies
Own and operate the distribution networks
  Regulated business
    Revenues determined by the regulator based on the value of the assets
Monopoly for the sale of electricity in their territory when there is NO retail market

## Slide 48: Retailers
Buy electrical energy from generators
Sell electrical energy to consumers
Do not own large physical assets
Often owned by a generator or a distribution company
Competitive advantages:
  Negotiate good price with generators
  Identification of “good” customers
  Efficient billing system

## Slide 49: Market Operator
Facilitate trading of electricity
  Matches bids and offers submitted by buyers and sellers of electrical energy
  Runs the market settlement system
    Monitors delivery of energy
    Forwards payments from buyers to sellers
Requirements:
  Fairness, independence
  Efficient technology to support trading
  Efficient settlement of trades

## Slide 50: Independent System Operator
Operates the power system
  Maintain load/generation balance
  Responsible for operational reliability
  Operates the market of last resort
Must be independent from other participants to ensure fairness of market
Owns only computing and communication assets
Also known as Regional Transmission Organizations (RTO)

## Slide 51: Transmission Companies
Own and maintain transmission assets
  Lines
  Substations
  DC lines
Operate these assets as instructed by the ISO
Regulated business
  Revenues determined by the regulator based on the value of the assets

## Slide 52: Transmission System Operator
Combines the functions of
  Independent System Operator
  Transmission Company
Europe has TSOs
North America has ISOs or RTOs

## Slide 53: Large Consumers
Industrial or large commercial consumers
May buy directly from the electricity market
May buy electricity at time-varying prices
Can sell “demand response”
  Reduce or shift load in response to price or an incentive

## Slide 54: Small Consumers
Residential or commercial consumers
Buy electricity from a retailer or a distribution company
Buy electricity at a fixed price
Too small to sell services directly in electricity market
  Sell demand response through an aggregator

## Slide 55: Regulator
Commercial regulation
Technical regulation

## Slide 56: Commercial Regulation
Oversees the operation of the electricity market
Determines the allowed revenues of the monopolies (“wire companies”, i.e. transmission and distribution owners)
Government body:
Examples:
  Federal Energy Regulatory Commission (FERC)
    Wholesale markets & transmission
  Washington Utilities and Transportation Commission (WUTC)
    Retail market & distribution

## Slide 57: Technical Regulation
Sets the standards for power system reliability and power quality
Enforces these standards
Specialist body:
  North American Reliability Corporation (NERC)
  ENTSO-E (Europe)

## Slide 58: Typical re-bundling
Distribution + retail
Generation + transmission network owner
Generation + retail
System operator + market operator
Transmission owner + distribution owner

## Slide 59: Perspectives
Old model
  Point of view of the vertically integrated utility is the only one that matters
New model
  Each actor has a different perspective because its motivation is different
    How does it make money?
  Different ways of looking at the same problem