## Sheet1
Solar Array Sizing (Number of Panels Required)
Total Required Watts | 115.5 | Required Watts | 70
Wattage of Solar Panel | 85 | Wattage of Single Solar Panel | 85
Number of Modules Required | 2 | Inverter Efficiency (1 if not used) * | 1.15
Battery Sizing (Number of Batteries Required)
Required Watt-Hours | 693 | Voltage(Battery) | 12
Required Amp-Hours | 57.75 | Amp-Hour Rating(Battery) | 77
Number of Batteries Required | 1 | Hours of Run-Time | 3
Charge Controller Sizing
Number of Solar Panels | 2 | Solar Panel Voltage | 12
Wattage of Solar Panels | 170 | Single Panel Open Circuit Voltage | 20
Required Amp Rating | 17.7083 | Voltage of Battery Bank | 12
Required Volt Rating | 22
SUMMARY
Number of Solar Panels | 2 | * Inverter efficiency is typically 1.15
Number of Batteries | 1
Charge Controller Amp Rating | 17.7083
Charge Controller Voltage Rating | 22